PAGE  
STANDARD TEST PROCEDURE
	Drug Product Name 
	Granisetron Hydrochloride Injection  USP



1.  Description   

1.1
Procedure  :  Carry out the test as per procedure.
2.  Identification 


2.1 
Granisetron Hydrochloride

2.1.1 BY UV 300nm. 



Procedure: By HPLC; The UV Spectrum of major peak of the sample solution 


corresponds to that of the standard solution, as obtained in the Assay. 


UV Detector range of 200 to 400nm.

2.1.2 
By HPLC.

Procedure: The retention time of the major peak in the chromatogram of the Assay preparation corresponds to that in the chromatogram of the Standard preparation, as obtained in the Assay.

2.2 
Benzyl Alcohol


2.2.1
Procedure: By HPLC; The retention time of principal peak of sample is 
concordant with the principal peak of standard solution, in Assay procedure.

3.  pH  

3.1
Procedure  :  Carry out the test as per procedure.
4.  Average Volume
4.1
Procedure  :  Carry out the test as per procedure.
 5.  Uniformity of Volume   

5.1
Procedure  :  Carry out the test on 5 containers as per procedure.
6.  Bacterial Endotoxins   

6.1
Procedure  :  Carry out the test as per procedure.
7.  Sterility   

7.1
Procedure  :  Carry out the test as per procedure.
8.  Particulate Matter   

8.1
Procedure  :  Carry out the test as per procedure.
9.  Related Compounds  :  

(Note : Perform the determination under subdued light and use amber auto sampler vials and low-actinic glassware).

Buffer Solution pH 2.0,  Mobile Phase,  System Suitability Preparation,  and Chromatographic System  :  Prepare as directed in the Assay.

Standard Solution  :  Use the Standard preparation, prepared as directed in the Assay.

Test Solution  :  Use the undiluted Injection.

9.1
Procedure : Separately inject equal volumes (about 15/L µL), where L is the labeled amount, in mg, of Granisetron per ml of injection of the Standard solution and the Test solution into the chromatograph. Record the chromatograms for at least three times the retention time of the Granisetron peak, identify the impurities listed in Table 1, and measure the peak responses, calculate the percentage of each impurity relative to the labeled content of Granisetron in the portion of Injection taken by the formula :

100(1/F) (312.41/348.87) (CS/CT) (ri /rs)

in which F is the relative response factor as listed in Table 1; 312.41 and 348.87 are the molecular weights of Granisetron and Granisetron hydrochloride, respectively  CS  is the concentration, in mg per ml, of Granisetron hydrochloride in the Standard solution;  CT  is the concentration, in mg per ml, of Granisetron in the Test solution, based on the label claim;  ri  is the peak response of each impurity obtained from the Test solution; and  rS   is the peak response of the Granisetron peak, obtained from Standard solution.  Disregard the peak due to Granisetron related compound A that elutes at the relative retention time of about 0.5 to 0.6 as this impurity is controlled in the drug substance monograph.  Not more than 0.7% of Granisetron related compound C is found, not more than 1.3% of total specified impurities is found, and not more than 0.5% of any unspecified impurity is found.  The reporting level for impurities is 0.1%.

     Table - 1

	Name
	Relative Retention Time
	Relative Response Factory (F)

	Granisetron related compound A1
	0.5 – 0.6
	-

	Granisetron related compound B2
	0.7
	0.8

	Granisetron
	1.0
	-

	Granisetron related compound C3
	1.2
	1.0

	Granisetron related compound D4
	2.1 – 2.3
	1.5


10.  Assay  

10.1Granisteron Hydrochloride
10.1.1 Procedure  :  By HPLC.
(Note : Perform the determination under subdued light and use amber auto sampler vials and low-acting glassware].
Chromatographic System  :  The liquid chromatograph is equipped with a    300 nm detector and a 4.6 mm × 15 cm column that contain 4 µm polar end-capped packing L1.  The flow rate is about 1.2 ml per minute.  Chromatograph the System suitability preparation, and identify the components based on the information listed in Table - 1.  Record the peak responses as directed for Procedure : the resolution, R, between the Granisetron and Granisetron related compound C peaks is not less than 2.  Chromatograph the Standard preparation, and record the peak responses as directed for Procedure  : the tailing for the Granisetron peak is not more than 3; and the relative standard deviation for a minimum of six replicate injections is not more than 2.0%.
Buffer Solution pH 2.0 : Dissolve 15.6 gm of Monobasic sodium phosphate dihydrate in 900 ml of water, adjust with Phosphoric acid to a pH of 2.0, and dilute with water to 1000 ml.

Mobile Phase : Prepare a mixture of Buffer solution pH 2.0, Methanol, and Tetrahydrofuran (75: 24: 1.1), mix, and degas.  Make adjustments if necessary. 

System Suitability Preparation  :  Weigh Granisetron related B, C, & D each 2.0 mg and USP Granisetron Hydrochloride RS 2.2 mg in 20 ml volumetric flask and dissolve in a mixture of water and Methanol (75:25).  Take 1 ml solution to 100 ml and make up with water up to the Mark.

Standard Preparation : Dissolve an accurately 110.0 mg weighed quantity of USP Granisetron Hydrochloride RS in 100 ml volumetric flask add sufficient water and sonicate to complete dissolve than make up with water up to the mark than filter and use 10 ml of filtrate than makeup 100 ml with water. 
Assay Preparation  :  Diluted 1ml of injection to  10 ml with water.
Procedure :  Separately inject equal volumes ( about 15/L µL), where L is the labeled amount, in mg of Granisetron per ml of injection, of the standard preparation and the assay preparation into the chromatograph. Record the chromatograms for at least three times the retention time of the Granisetron peak, and measure the responses for the major peaks. 

Calculation : Calculate the percentage of the labeled amount of Granisetron       (C18H24N4O) in each ml of injection by the formula :


Spl. Area  (  Std.  Wt.  (  Dilu. Factor  (     Potency  (  0.8954 


          Std. Area  (  Spl. Vol.                                    100


=    mg   found   


% found   =   mg found  (  100



                 L. Claim

10.2
Benzyl Alcohol

10.2.1 Procedure  :  By HPLC.

Chromatographic Conditions  :


Mobile phase

:
Buffer  :  Acetonitrile  (70  :  30)



Column

:
C18,  250  (  4.6 mm, 5(  (Inertsil ODS or equivalent).



Detector

:
UV - At  220 nm.



Flow rate

:
1.0 ml / minute.



Temperature

:
40° C.



Inject volume
:
20 (l.


Buffer Preparation : Prepare 0.1 M Ammonium acetate in 1000 ml distilled 

water, adjust pH 6.5 with Orthophosphoric acid.


Standard Preparation  :  Pipette out accurately 0.5 ml of Benzyl Alcohol WS, in a clean 
and dry 50 ml amber coloured volumetric flask.  Make up the volume with mobile 
phase and sonicate to dissolve.  Cool the flask, if necessary.  Further Pipette out 2 ml of 
the above solution in a 100 ml amber coloured volumetric flask, and make up the 
volume with mobile phase to obtain the concentration about 200 mcg/ml.

Sample Preparation  :  Transfer completely 10 ml of sample solution in clean and dry 100 ml volumetric flask,  add about 80 ml of mobile phase, shake and make up the volume with mobile phase.  Further 5 ml to 25 ml volumetric flask and make up the volume with mobile phase to obtain the concentration about 200 mcg/ml.



Separately inject 20 (l of freshly prepared, standard and sample preparation. Record 
the chromatogram and calculate the assay by given formula.   
Calculation  : 


Spl. Area  (   0.5   (    2    (  Potency (aob)  (   100   (   25 .  



Std. Area       50       100                                 10          5


=    mg   found   


% found   =   mg found  (  100



                 L. Claim

 [image: image1.png]



	Page 4 of 4



