PAGE  
STANDARD TEST PROCEDURE
	Material Name 
	Lisinopril USP



1.
Description 

1.1
Carry out the test on sample powder as per procedure.
2.
Solubility 

2.1
Procedure : Soluble in water; sparingly soluble in methanol; practically insoluble in 
alcohol, in acetone; in acetonitrile and in chloroform.  Carry out the test as per 
procedure of solubility check. 

Solubility Table

	Descriptive Term
	Parts of Solvent Required for 1 Part of Solute

	Very soluble
	Less than 1

	Freely soluble
	From 1 to 10

	Soluble
	From 10 to 30

	Sparingly soluble
	From 30 to 100

	Slightly soluble
	From 100 to 1,000

	Very slightly soluble
	From 1,000 to 10,000

	Practically insoluble, or Insoluble
	Greater than or equal to 10,000


3.
Identification 

3.1
Test A  :  By IR


Procedure : The infra-red absorption spectrum of lisinopril is concordant with the reference spectrum of lisinopril or with the spectrum obtained from USP lisinopril RS.  Carry out the test as per procedure. 
3.2
Test B  :  By HPLC

Procedure  :  The retention time of the major peak of the sample solution corresponds to that of the standard solution, as  obtained  in  the  Assay.   
4.
Melting Point  

4.1
Procedure  :  Carry out the test as per procedure.

5.
Optical  Rotation, Specific Rotation  

5.1
Procedure : It is determined in the test solution containing 10 mg per ml of lisinopril,  
in  0.25 M  zinc  acetate solution.  (At ( = 405 nm). 

Preparation of 0.25 M Zinc Acetate Solution  :  Mix  600 ml of water with 150 ml of  glacial acetic acid and  54.9 gm of zinc acetate and  stir to dissolve the zinc acetate.  While stirring, add 150 ml of ammonium hydroxide, cool to room temperature and adjust with ammonium hydroxide to a pH of 6.4.  Transfer the solution to a 1000 ml volumetric flask,  dilute with water to volume, and mix.

6.
Water  

6.1
Procedure :  Carry out the test on 150 mg sample powder as per method –I of  GTP/004.

7.
Residue on Ignition  

7.1
Procedure :  Carry out the test on 1 gm sample powder as per procedure.

8.
Organic Impurities

8.1
Procedure  :    
Buffer  : 3.53 g/L of monobasic sodium phosphate dehydrate in water adjusted with phosphoric acid to a pH of 4.1.

Solution A : Acetonitrile and Buffer  (7 : 193)

Solution B : Acetonitrile and Buffer  (20 : 80)

Mobile phase : See Table 1.

Table 1

	Time  (min.)
	Solution A  (%)
	Solution B  (%)

	0
	100
	0

	35
	60
	40

	55
	60
	40

	60
	100
	0


Standard solution : 0.006 mg/ml of USP Lisinopril RS in solution A

  (Dilution: about 6 mg  USP Lisinopril RS→ 10 ml→ take 1 ml →100 ml)
Sensitivity solution : 1µg/ml of USP Lisinopril RS in Solution A from Standard solution.

 (Dilution: about 5 mg USP Lisinopril RS→ 50 ml→ take 1 ml →100 ml)
Sample solution : 2 mg/ml of Lisinopril in Solution A

Chromatographic System  :
Mode

  : 
LC

Detector
  : 
UV 210 nm

Column
  : 
4.6-mm × 25-cm; 5-).lm packing L7

Column temp. :
45°

Flow rate
  :  
1.8 ml/min

Inj. volume     :  
20 µl
System Suitability

Samples  : Standard solution and Sensitivity solution

Suitability requirements

Relative standard deviation : NMT 10.0%, Standard solution

Signal-to-noise ratio: NLT 10, Sensitivity solution

Analysis

Samples : Standard solution and Sample solution. 

Calculate the percentage of each impurity in the portion of Lisinopril taken:

Result
 =  
(ru/rs) × (Cs/Cu) × (1 /F) × 100
ru
 = 
peak response of each impurity from the Sample solution

rs 
 =  
peak response of lisinopril from the Standard solution

Cs 
 = 
concentration of USP Lisinopril RS in the Standard solution (mg/ml)

Cu 
 = 
concentration of Lisinopril in the Sample solution (mg/ml)

F 
 = 
relative response factor (see Table 2)
Table 2

	Name
	Retention Response Time
	Name Time Factor
	Acceptance Criteria  NMT (%)

	N-Alkyl-L-Iysinea
	0.57
	0.35
	Not more than 0.3%.

	DL-Homophenylalanineb
	0.72
	1.08
	Not more than 0.3%.

	Lisinopril
	1.00
	1.00
	-

	Lisinopril epimerc
	1.33
	0.76
	Not more than 0.3%.

	Lisinopril cyclohexyl analogd
	2.93
	0.39
	Not more than 0.30%.

	R,S,S-Diketopiperazinee
	3.88
	0.79
	Not more than 0.3%.

	S,S,S-Diketopiperazine (lisinopril related

compound A)f
	4.04
	0.76
	Not more than 0.3%.



	N-Alkyl lisinoprilg
	4.60
	0.86
	Not more than 0.15%

	Any individual

unspecified impurity
	-
	1.00
	Not more than 0.1%

	Total impuritiesh


	-
	-
	Not more than 0.5%


a [(S)-1-Carboxy-3-phenylpropyl]-r-lysine.

b 2-Amino-4-phenylbutanoic acid.

c[(R)-1-Carboxy-3-phenylpropyl]-r-lysyl-L-proline.

d[(S)-1-Carboxy-3-cyclohexylpropyi]-L-Iysyi-L -proline.
e(S)-2-[(3 S, BaR)-3-( 4-Aminobutyl)-1 ,4-dioxohexahydropyrrolo[1,2-a]pyrazin-2(1 H)-yl]-4-phenylbutanaic acid.

f(S)-2-[(3 S,8aS)-3-( 4-Aminabutyl)-1, 4 -dioxohexahydropyrralo[1,2-a]pyrazin-2(1 H)-yl]-4-phenylbutanoic acid.

gN2,N6-Bis[(S)-1-Carboxy-3-phenylpropyl]-L-lysyl-L-proline.

hTotal impurities does not include lisinopril epimer.
9.
Assay  (By HPLC)

9.1
Procedure :  Carry out the test as per GTP/082.
Solution A  :  Dissolve 2.76 gm of  monobasic sodium phosphate in about 900 ml of water in 1000 ml of  volumetric flask, and adjust its pH  to  5  with  1 N  sodium hydroxide.  Make up to the mark and mix.

Mobile phase : Prepare a filtered and degassed mixture of Solution A and acetonitrile

 ( 4:96).  Make adjustment if necessary.  

Standard Preparation  :  Dissolve  an  accurately  weighed  quantity  of  USP  lisinopril  RS  in water, and dilute quantitatively, and  step-wise if necessary, with water to obtain  a solution  having a known concentration of  about 0.3 mg/ml.

Assay Preparation : Transfer about 30 mg of lisinopril, accurately weighed, to a 100 ml  volumetric flask, dissolve in water,  dilute with water to volume, and mix. 

Chromatographic Conditions  :


Wave Length


:
210  nm.

Column Brief
:
4.6 mm ( 25 cm column that contains 5 (m packing  

L7 and is maintained at a temperature of 50°.


Flow Rate


:  
1 ml / minute.

Tailing Factor

:
Not more than 1.7.

Relative standard deviation: 
Not more than 0.73%

Volume Injected

:
20 (l.

Calculation  :  Calculate the quantity of lisinopril using the formula : 

Result
 =  
(ru/rs) × (Cs/Cu)  × 100
ru
 = 
peak response of  Lisinopril  from the Sample solution

rs 
 =  
peak response of lisinopril from the Standard solution

Cs 
 = 
concentration of USP Lisinopril RS in the Standard solution (mg/ml)

Cu 
 = 
concentration of Lisinopril in the Sample solution (mg/ml)
 [image: image1.png]



	Page 2 of 4



