PAGE  
STANDARD TEST PROCEDURE
	Material Name 
	



1. 
Description

1.1
Procedure : Carry out the test on sample as per procedure.
2. 
Solubility
2.1
Procedure : Freely soluble in boiling water; soluble in water, in alcohol, and in glycerin.  Carry out the test as per 
procedure of solubility check. 
Solubility Table

	Descriptive Term
	Parts of Solvent Required for 1 Part of Solute

	Very soluble
	Less than 1

	Freely soluble
	From 1 to 10

	Soluble
	From 10 to 30

	Sparingly soluble
	From 30 to 100

	Slightly soluble
	From 100 to 1,000

	Very slightly soluble
	From 1,000 to 10,000

	Practically insoluble, or Insoluble
	Greater than or equal to 10,000


3. 
Identification 
3.1
Test A (By IR)

Procedure  :  The Infrared absorption spectrum should be concordant with reference spectrum of that standard.  Carry out the test as per procedure.

3.2
Test B 


Procedure : The retention time of the major peak of the Sample solution corresponds to that of the Standard solution, as obtained in the Assay.
4. 
Melting Range or Temperature
4.1    
Procedure  :  Carry out the test as per respective procedure of Melting Point Apparatus.
5. 
Residue on Ignition
5.1
Procedure  :  Carry out the test as per below procedure.

5.1.1  Prepare Crucible: Ignite a clean, dry silica or platinum crucible at 600 ± 50°C for 30 minutes, cool in a desiccator, and weigh accurately (W1).
5.1.2  Weigh Sample: Accurately weigh 1-2g (or as specified) of the substance into the crucible.

5.1.3   Charring: Moisten the sample with about 1 mL of sulfuric acid and heat gently at the lowest practicable temperature until thoroughly charred (blackened).

5.1.4   Further Heating: Cool, then carefully add another 1 mL of sulfuric acid to the residue. 
5.1.5   Heat gently until white fumes are no longer evolved.
5.1.6   Ignition: Ignite in a muffle furnace at 600 ± 50°C (or specified temp) until all black particles disappear and the residue is completely incinerated (usually 2 hours). 
5.1.7  Ensure no flames appear.

5.1.8  Cool & Weigh: Cool the crucible in a desiccator and weigh accurately (W2).

5.1.9  Constant Weight: Repeat the ignition, cooling, and weighing steps until two successive weighings (W2 and W3) do not differ by more than 0.5 mg.

5.1.10 Calculate Percentage: (Weight of final residue (W2-W1) / Weight of original sample) * 100.

6. 
Assay 
6.1
Procedure : Diluent : Dissolve 6.8 g of potassium phosphate monobasic in 2 L of water. Adjust the pH of the solution to 2.3 with drops of phosphoric acid. This solution is 25 mM potassium phosphate buffer, pH 2.3. 

Mobile phase : Methanol and Diluent (8:92) 

System suitability solution : 1.0 mg/mL of USP Succinic Acid RS and 0.003 mg/mL of USP Fumaric Acid RS in Diluent 
Standard solution : 1.0 mg/mL of USP Succinic Acid RS in Diluent 
( Dilution : 50mg----------------------( 50ml )
Sample solution : 1.0 mg/mL of Succinic Acid in Diluent 
( Dilution : 50mg-------------------------------------( 50ml )
Chromatographic system 
Mode : LC 

Detector : UV 204 nm 

Column : 4.6-mm × 15-cm; 3-µm packing L1 

Flow rate : 1.0 mL/min 

Injection volume : 20 µL 

System suitability 
Sample : System suitability solution 
[Note— The relative retention times for succinic acid and fumaric acid are 1.0 and 1.2, respectively. ] 
Suitability requirements 
Resolution : NLT 2.0 between succinic acid and fumaric acid 

Relative standard deviation: NMT 0.5% for the succinic acid peak 

Tailing factor : 0.8–2.0 

Analysis 
Samples : Standard solution and Sample solution 
Calculate the percentage of succinic acid (C4H6O4 ) in the portion of succinic acid taken: 

Result = ( r U / r S ) × ( C S / C U ) × 100

	r U 
	=
	peak response from the Sample solution 

	r S 
	=
	peak response from the Standard solution 

	C S 
	=
	concentration of USP Succinic Acid RS in the Standard solution (mg/mL)

	C U 
	=
	concentration of Succinic Acid in the Sample solution (mg/mL)


 [image: image1.png]



	Page 2 of 2



